## Sheet3
Outage ID | Planned Start | Planned End | Priority | Recurrence | Name | Type | Voltage | Constraint | Recall Time | Status
1-00008640 | 2015-03-02 08:21 | 2025-12-31 23:59 | F | C | SAULT3.3 | LineSection | 115 kV | IS | Non-recallable | IMPL
1-00018154 | 2017-02-07 11:05 | 2025-12-31 22:59 | O | C | B5D-B31L SS JCT 93B5D-Q | Disconnect | 230 kV | IS | 2 Hour(s) | IMPL
[5 empty] | BEAUHARNOIS GS L4B11 | Disconnect | 230 kV | IS
[5 empty] | BEAUHARNOIS GS L6B12 | Disconnect | 230 kV | IS
[5 empty] | PAUGAN TS L3B20 | Disconnect | 230 kV | IS
1-00096636 | 2018-09-24 21:07 | 2026-12-31 16:00 | F | C | FORT WILLIAM TS SC2 | Capacitor | 50 kV | OOS | Non-recallable | IMPL
[5 empty] | FORT WILLIAM TS SC2J | Breaker | 50 kV | OOS
1-00097760 | 2018-12-03 07:00 | 2025-12-31 16:00 | FE | C | CHERRYWOOD TS K3K4 | Breaker | 230 kV | OOS | 6 Hour(s) | IMPL
1-00103070 | 2018-12-03 18:27 | 2025-12-30 22:00 | FE | C | MAJESTIC CTS T1B | Breaker | 50 kV | INFO | Non-recallable | IMPL
[5 empty] | MAJESTIC CTS T2B | Breaker | 50 kV | INFO
1-00117652 | 2019-05-29 08:00 | 2026-12-31 16:00 | F | C | FORT FRANCES TS SC1 | Capacitor | 115 kV | OOS | Non-recallable | IMPL
[5 empty] | FORT FRANCES TS SC1.2 | Breaker | 115 kV | OOS
[5 empty] | FORT FRANCES TS SC1.2-1 | Disconnect | 115 kV | OOS
1-00119945 | 2019-06-24 17:25 | 2025-12-31 16:00 | F | C | NORFOLK TS VC2 | Capacitor | 50 kV | OOS | Non-recallable | IMPL
1-00123136 | 2019-08-07 16:00 | 2025-12-31 23:59 | U | C | MISO WAVE E0MCPH-110.BK8_BKR | Breaker | 115 kV | OOS | Non-recallable | AA
[5 empty] | MISO WAVE E0MCPH-110.BK9_BKR | Breaker | 115 kV | OOS
[5 empty] | MISO WAVE E0SHBK-110.JB14 | Breaker | 115 kV | OOS
[5 empty] | MISO WAVE E0STAFFD-110.B2 | Breaker | 115 kV | OOS
[5 empty] | MISO WAVE E0STAFFD-110.B4 | Breaker | 115 kV | OOS
[5 empty] | MISO WAVE E0STAFFD-110.B7 | Breaker | 115 kV | OOS
[5 empty] | MISO WAVE E4CANIFF-120.LB | Breaker | 115 kV | OOS
[5 empty] | MISO WAVE E4STEPHENS-345.DF | Breaker | 345 kV | OOS
[5 empty] | MISO WAVE E4STEPHENS-345.DM | Breaker | 345 kV | OOS
1-00168469 | 2021-03-27 18:20 | 2026-12-31 15:00 | F | C | PORCUPINE TS SVC1 | SVC | 50 kV | OOS | Non-recallable | IMPL
1-00172107 | 2021-07-09 17:00 | 2025-07-15 17:00 | P | C | BECK 1 SS E9-E19 | Disconnect | 115 kV | OOS | Non-recallable | IMPL
1-00176167 | 2021-07-09 10:50 | 2025-12-31 16:00 | F | C | BRANTFORD TS SC3 | Capacitor | 50 kV | OOS | Non-recallable | IMPL
1-00180978 | 2021-09-17 08:17 | 2025-07-31 16:00 | F | C | PLEASANT TS SC3 | Capacitor | 50 kV | OOS | Non-recallable | IMPL
1-00183585 | 2021-11-03 15:00 | 2025-07-15 17:00 | P | C | BECK 1 SS E8-E18 | Disconnect | 115 kV | OOS | Non-recallable | IMPL
1-00190326 | 2018-10-29 09:00 | 2026-12-31 12:00 | F | C | FORT WILLIAM TS SC2 | Capacitor | 50 kV | OOS | 2 Hour(s) | IMPL
[5 empty] | FORT WILLIAM TS SC2J | Breaker | 50 kV | OOS
1-00197030 | 2022-04-13 13:50 | 2025-12-05 16:00 | F | C | CLARKE TS SC2B | Breaker | 50 kV | OOS | Non-recallable | IMPL
1-00202079 | 2022-06-22 16:50 | 2025-12-31 16:00 | F | C | CLARINGTON TS K1K2 | Breaker | 230 kV | OOS | Non-recallable | IMPL
[5 empty] | CLARINGTON TS P1P2 | Breaker | 230 kV | OOS
1-00221151 | 2023-02-24 08:00 | 2026-06-01 16:00 | F | C | SIDNEY TS SC1 | Capacitor | 50 kV | OOS | Non-recallable | IMPL
1-00221222 | 2023-02-25 14:15 | 2025-12-19 16:00 | F | C | BUCHANAN TS SC21SC | Breaker | 230 kV | OOS | Non-recallable | IMPL
1-00224505 | 2025-04-12 17:45 | 2025-10-19 16:00 | P | C | BECK 1 SS 20-Q2AH | Disconnect | 115 kV | OOS | Non-recallable | IMPL
[5 empty] | BECK 1 SS 20Q2AH | Breaker | 115 kV | OOS
[5 empty] | BECK 1 SS 20Q2AH-E | Disconnect | 115 kV | OOS
[5 empty] | BECK 1 SS 20Q2AH-L | Disconnect | 115 kV | OOS
[5 empty] | BECK 1 SS A3-A4 | Disconnect | 115 kV | OOS
[5 empty] | BECK 1 SS A4-A5 | Disconnect | 115 kV | OOS
[5 empty] | BECK 1 SS A4Q2AH-A4 | Disconnect | 115 kV | OOS
[5 empty] | BECK 1 SS A4_BUS | Bus | 115 kV | OOS
[5 empty] | BECK 1 SS E4-E14 | Disconnect | 115 kV | OOS
[5 empty] | HOLLAND ROAD JCT 89Q2AH-20 | Disconnect | 115 kV | OOS
[5 empty] | Q2AH.BEXB1 | LineSection | 115 kV | OOS
[5 empty] | Q2AH.BEXB2 | LineSection | 115 kV | OOS
[5 empty] | Q2AH.BJXHO | LineSection | 115 kV | OOS
1-00225743 | 2023-05-01 08:00 | 2025-07-11 16:00 | F | C | RED LAKE TS SC5 | Capacitor | 50 kV | OOS | Non-recallable | IMPL
[5 empty] | RED LAKE TS SC5B | Breaker | 50 kV | OOS
1-00230419 | 2023-07-11 09:00 | 2025-06-30 16:00 | FE | C | LAKEHEAD TS SC21 | Capacitor | 230 kV | OOS | Non-recallable | IMPL
[5 empty] | LAKEHEAD TS SC21SC | Breaker | 230 kV | OOS
1-00230906 | 2023-08-02 16:00 | 2025-09-11 16:00 | FE | C | OTTER RAPIDS GS T1-R21D | Disconnect | 230 kV | OOS | 4 Hour(s) | IMPL
1-00232559 | 2023-07-15 16:13 | 2025-12-31 16:00 | F | C | ARMITAGE TS SC1 | Capacitor | 50 kV | OOS | Non-recallable | IMPL
1-00234189 | 2025-03-15 08:30 | 2025-06-18 07:30 | FE | C | DES JOACHIMS TS R6-L | Disconnect | 115 kV | OOS | 40 Day(s) | IMPL
[5 empty] | DES JOACHIMS TS R6-S | Disconnect | 115 kV | OOS
[5 empty] | DES JOACHIMS TS R6-T | Disconnect | 115 kV | OOS
[5 empty] | DES JOACHIMS TS T6 | PowerTransformer | 230 kV | OOS
[5 empty] | DES JOACHIMS TS T6-W1 | Disconnect | 230 kV | OOS
[5 empty] | DES JOACHIMS TS TR6 | VoltageRegulator | 115 kV | OOS
1-00238431 | 2025-03-03 07:45 | 2025-11-28 16:00 | P | C | NANTICOKE TS DT12 | Breaker | 500 kV | OOS | Non-recallable | IMPL
[5 empty] | NANTICOKE TS FBUS-MSO | Disconnect | 230 kV | OOS
[5 empty] | NANTICOKE TS L581WT12 | Breaker | 500 kV | OOS
[5 empty] | NANTICOKE TS T12-F | Disconnect | 230 kV | OOS
[5 empty] | NANTICOKE TS T12-H | Disconnect | 500 kV | OOS
[5 empty] | NANTICOKE TS T7T12 | Breaker | 500 kV | OOS
1-00240528 | 2023-11-14 11:49 | 2025-12-31 08:00 | F | C | FORD WINDSOR POWERHOUSE CTS T1-E8F | Disconnect | 115 kV | OOS | 2 Hour(s) | IMPL
1-00240895 | 2023-11-20 12:30 | 2025-07-18 16:00 | F | C | HEARN SS SC11SC | Breaker | 115 kV | OOS | Non-recallable | IMPL
1-00244428 | 2025-06-14 08:00 | 2025-06-14 16:00 | P | RE | S6F.FAXMA | LineSection | 115 kV | HOLDOFF | Immediate | FA
1-00249436 | 2024-12-11 08:00 | 2025-09-09 08:00 | O | C | GARDINER TS 1A-X2H | Disconnect | 230 kV | IS | 15 Min(s) | AA
[5 empty] | GARDINER TS 1A-X4H | Disconnect | 230 kV | OOS
1-00249610 | 2024-03-15 08:00 | 2027-12-31 23:00 | I | C | LAKEHEAD TS C8 | GeneratingUnit | 50 kV | INFO | Non-recallable | IMPL
[5 empty] | LAKEHEAD TS C8A | Breaker | 50 kV | INFO
1-00251719 | 2024-11-28 15:00 | 2025-11-28 17:00 | P | C | NANTICOKE TS HT7_BUS | Bus | 500 kV | OOS | Non-recallable | AA
[5 empty] | NANTICOKE TS L581WT12 | Breaker | 500 kV | OOS
[5 empty] | NANTICOKE TS T7T12 | Breaker | 500 kV | OOS
1-00252369 | 2025-06-11 06:15 | 2025-06-30 17:15 | P | C | B502M.BAXBJ | LineSection | 500 kV | OOS | 4 Hour(s) | IMPL
[5 empty] | B502M.BJXMI | LineSection | 500 kV | OOS
[5 empty] | B502M.BJXWJ | LineSection | 500 kV | OOS
[5 empty] | BRUCE A TS OLD21-B502M | Disconnect | 500 kV | OOS
[5 empty] | MILTON SS 40-B502M | Disconnect | 500 kV | OOS
1-00252482 | 2025-06-01 07:30 | 2025-06-25 16:00 | P | C | SEAFORTH LSO JCT L7S-M18 | Disconnect | 115 kV | IS | 12 Hour(s) | IMPL
[5 empty] | SEAFORTH TS 61-L7S | Disconnect | 115 kV | OOS
[5 empty] | SEAFORTH TS 61L7S-MSO1 | Disconnect | 115 kV | OOS
[5 empty] | SEAFORTH TS DTL7 | Breaker | 115 kV | OOS
[5 empty] | SEAFORTH TS KTL7 | Breaker | 115 kV | OOS
[5 empty] | SEAFORTH TS SC1 | Capacitor | 50 kV | OOS
[5 empty] | SEAFORTH TS T1 | PowerTransformer | 115 kV | OOS
[5 empty] | SEAFORTH TS T1-TL7 | Disconnect | 115 kV | OOS
[5 empty] | SEAFORTH TS UFLS1 | UFLS | NULL | OOS
[5 empty] | ST. MARYS TS BY | Breaker | 50 kV | OOS
1-00252577 | 2024-04-22 11:32 | 2025-09-05 16:00 | F | C | PORCUPINE TS SC21 | Capacitor | 230 kV | OOS | Non-recallable | IMPL
[5 empty] | PORCUPINE TS SC21D1 | Breaker | 230 kV | OOS
[5 empty] | PORCUPINE TS SC21D1-D1 | Disconnect | 230 kV | OOS
1-00254335 | 2024-05-14 15:54 | 2025-12-31 23:59 | F | C | WHITESHELL TS PS7 | PhaseShifter | 115 kV | OOS | Non-recallable | IMPL
[5 empty] | WHITESHELL TS R4 | Breaker | 230 kV | OOS
[5 empty] | WHITESHELL TS R70 | Breaker | 115 kV | OOS
1-00254393 | 2024-05-14 13:00 | 2025-12-31 16:00 | F | C | K21W.WHXKE | LineSection | 230 kV | OOS | 6 Hour(s) | IMPL
[5 empty] | KENORA TS 34-K21W | Disconnect | 230 kV | OOS
1-00255328 | 2024-05-28 06:47 | 2025-11-26 16:00 | F | C | TOMKEN TS SC3 | Capacitor | 50 kV | OOS | Non-recallable | IMPL
1-00256496 | 2024-09-28 04:15 | 2025-09-13 04:00 | P | C | OTTER CREEK JCT B9D2M-B8 | Disconnect | 230 kV | OOS | 2 Hour(s) | IMPL
[5 empty] | OTTER CREEK JCT B9D4M-B8 | Disconnect | 230 kV | IS
1-00257104 | 2024-06-20 18:00 | 2025-07-11 16:00 | F | C | PATRICK ST TS 205 | Breaker | 115 kV | OOS | Non-recallable | IMPL
1-00258796 | 2024-07-15 12:15 | 2025-12-31 23:00 | FE | C | OTTER RAPIDS GS T2-R21D | Disconnect | 230 kV | INFO | Non-recallable | IMPL
1-00259554 | 2024-09-09 02:30 | 2025-06-18 17:00 | FE | C | TOMKEN TS SC1 | Capacitor | 50 kV | OOS | 60 Day(s) | IMPL
1-00259687 | 2024-07-29 07:28 | 2025-07-16 16:00 | F | C | TOMKEN TS SC4 | Capacitor | 50 kV | OOS | Non-recallable | IMPL
1-00262203 | 2024-09-23 02:45 | 2025-06-18 17:00 | FE | C | TOMKEN TS SC2 | Capacitor | 50 kV | OOS | 60 Day(s) | IMPL
1-00263077 | 2024-08-22 14:20 | 2025-12-31 16:00 | F | C | NANTICOKE TS SVC1 | SVC | 500 kV | OOS | Non-recallable | IMPL
1-00263695 | 2024-09-08 18:00 | 2025-06-30 16:00 | P | C | EAR FALLS TS T5 | PowerTransformer | 115 kV | OOS | 4 Hour(s) | IMPL
[5 empty] | EAR FALLS TS T5-W45 | Disconnect | 115 kV | OOS
[5 empty] | EAR FALLS TS T5SP | PowerTransformer | 115 kV | IS
1-00264268 | 2024-09-07 15:50 | 2025-08-08 16:00 | F | C | BRAMALEA TS SC3 | Capacitor | 50 kV | OOS | Non-recallable | IMPL
1-00264430 | 2025-01-12 08:00 | 2025-07-15 08:00 | FE | C | JOHN TS T6 | PowerTransformer | 115 kV | OOS | Non-recallable | IMPL
[5 empty] | JOHN TS T6-K | Disconnect | 115 kV | OOS
1-00264432 | 2025-02-10 12:00 | 2025-06-15 10:00 | FE | C | D5A.LOXIS | LineSection | 230 kV | OOS | 6 Hour(s) | IMPL
[5 empty] | D5A.LOXLO | LineSection | 230 kV | OOS
[5 empty] | ST. ISIDORE TS 62D5A-26 | Disconnect | 230 kV | OOS
1-00265449 | 2025-06-14 06:30 | 2025-06-14 16:00 | P | C | C552V.CHXCL | LineSection | 500 kV | OOS | Immediate | AA
[5 empty] | CHERRYWOOD TS HL552 | Breaker | 500 kV | OOS
[5 empty] | CHERRYWOOD TS JL552 | Breaker | 500 kV | OOS
[5 empty] | CLAIREVILLE TS D1L552 | Breaker | 500 kV | OOS
[5 empty] | CLAIREVILLE TS L552L586 | Breaker | 500 kV | OOS
1-00265497 | 2025-05-26 09:15 | 2025-06-14 16:15 | P | C | C552V.CHXCL | LineSection | 500 kV | OOS | 8 Hour(s) | IMPL
[5 empty] | CHERRYWOOD TS 81-C552V | Disconnect | 500 kV | OOS
[5 empty] | CHERRYWOOD TS HL552 | Breaker | 500 kV | OOS
[5 empty] | CHERRYWOOD TS JL552 | Breaker | 500 kV | OOS
[5 empty] | CLAIREVILLE TS 51-C552V | Disconnect | 500 kV | OOS
[5 empty] | CLAIREVILLE TS D1L552 | Breaker | 500 kV | OOS
[5 empty] | CLAIREVILLE TS L552L586 | Breaker | 500 kV | OOS
1-00265822 | 2025-06-09 09:00 | 2025-06-14 11:00 | FE | C | CHERRYWOOD TS SS6 | PowerTransformer | 50 kV | OOS | 6 Hour(s) | IMPL
[5 empty] | CHERRYWOOD TS T16 | PowerTransformer | 500 kV | OOS
[5 empty] | CHERRYWOOD TS T16-HT16 | Disconnect | 230 kV | OOS
[5 empty] | CHERRYWOOD TS T16-WT16 | Disconnect | 500 kV | OOS
1-00265966 | 2024-09-17 06:38 | 2025-07-04 16:00 | F | C | RIVERDALE TS SC1 | Capacitor | 50 kV | OOS | Non-recallable | IMPL
1-00265968 | 2025-06-02 08:15 | 2025-06-20 17:00 | P | C | BELLEVILLE TS 78-H23B | Disconnect | 230 kV | OOS | 4 Hour(s) | IMPL
[5 empty] | STONE MILLS JCT 500H23B-BO1 | Disconnect | 230 kV | OOS
1-00266194 | 2025-06-13 08:15 | 2025-06-20 16:00 | FE | C | CECIL TS 49-L9C | Disconnect | 115 kV | OOS | 6 Hour(s) | IMPL
[5 empty] | CHARLES TS L9C-34 | Disconnect | 115 kV | OOS
[5 empty] | CHARLES TS L9C-49 | Disconnect | 115 kV | OOS
[5 empty] | CHARLES TS T2-H | Disconnect | 115 kV | OOS
[5 empty] | L9C.BAXLE | LineSection | 115 kV | OOS
[5 empty] | L9C.CEXCH | LineSection | 115 kV | OOS
[5 empty] | L9C.CHXBA | LineSection | 115 kV | OOS
[5 empty] | LEASIDE TS 34-L9C | Disconnect | 115 kV | OOS
1-00266378 | 2025-04-19 09:00 | 2025-07-11 14:00 | FE | C | BRUCE B SS J-J8 | Disconnect | 500 kV | OOS | Non-recallable | IMPL
1-00266443 | 2025-06-12 07:15 | 2025-06-17 16:00 | P | C | B502M.BAXBJ | LineSection | 500 kV | OOS | 6 Hour(s) | IMPL
[5 empty] | B502M.BJXMI | LineSection | 500 kV | OOS
[5 empty] | B502M.BJXWJ | LineSection | 500 kV | OOS
[5 empty] | BRUCE A TS EL502 | Breaker | 500 kV | OOS
[5 empty] | BRUCE A TS OLD21-B502M | Disconnect | 500 kV | OOS
[5 empty] | BRUCE A TS OLDHT4L502 | Breaker | 500 kV | OOS
[5 empty] | MILTON SS 40-B502M | Disconnect | 500 kV | OOS
1-00266485 | 2025-06-10 16:00 | 2025-06-28 10:00 | P | C | BRANTFORD TS T3-M33W | Disconnect | 230 kV | OOS | 8 Hour(s) | IMPL
[5 empty] | BUCHANAN TS 19-M33W | Disconnect | 230 kV | OOS
[5 empty] | M33W.CAXMI | LineSection | 230 kV | OOS
[5 empty] | M33W.NEXBR | LineSection | 230 kV | OOS
[5 empty] | M33W.SAXBU | LineSection | 230 kV | OOS
[5 empty] | M33W.SAXNE | LineSection | 230 kV | OOS
[5 empty] | MIDDLEPORT TS 25-M33W | Disconnect | 230 kV | OOS
[5 empty] | MIDDLEPORT TS D1L33 | Breaker | 230 kV | OOS
[5 empty] | MIDDLEPORT TS L33L40 | Breaker | 230 kV | OOS
[5 empty] | SALFORD JCT M33W-4 | Disconnect | 230 kV | OOS
1-00266654 | 2025-01-13 07:00 | 2025-09-01 17:00 | P | C | BOWMANVILLE SS H4A | Breaker | 500 kV | BF PROT OOS | 24 Hour(s) | IMPL
1-00267008 | 2025-04-11 12:15 | 2025-07-04 15:00 | P | C | BOWMANVILLE SS H4L543 | Breaker | 500 kV | OOS | 8 Hour(s) | IMPL
1-00267201 | 2025-06-09 02:45 | 2025-08-15 17:00 | P | C | ERINDALE TS T2-R14T | Disconnect | 230 kV | OOS | 18 Hour(s) | IMPL
[5 empty] | ERINDALE TS T4-R14T | Disconnect | 230 kV | OOS
[5 empty] | R14T.ERXER | LineSection | 230 kV | OOS
[5 empty] | R14T.ERXTO | LineSection | 230 kV | OOS
[5 empty] | R14T.ERXTR | LineSection | 230 kV | OOS
[5 empty] | R14T.TOXRI | LineSection | 230 kV | OOS
[5 empty] | RICHVIEW TS 88-R14T | Disconnect | 230 kV | OOS
[5 empty] | TOMKEN TS T2-R14T | Disconnect | 230 kV | OOS
[5 empty] | TRAFALGAR TS 31-R14T | Disconnect | 230 kV | OOS
1-00267204 | 2025-05-29 14:00 | 2025-10-26 10:00 | P | C | NANTICOKE TS DT12 | Breaker | 500 kV | OOS | Non-recallable | AA
1-00267235 | 2025-06-10 06:15 | 2025-06-19 17:00 | P | C | BRANTFORD TS T3-M33W | Disconnect | 230 kV | OOS | 6 Hour(s) | IMPL
[5 empty] | BUCHANAN TS 19-M33W | Disconnect | 230 kV | OOS
[5 empty] | M33W.CAXMI | LineSection | 230 kV | OOS
[5 empty] | M33W.NEXBR | LineSection | 230 kV | OOS
[5 empty] | M33W.SAXBU | LineSection | 230 kV | OOS
[5 empty] | M33W.SAXNE | LineSection | 230 kV | OOS
[5 empty] | MIDDLEPORT TS 25-M33W | Disconnect | 230 kV | OOS
[5 empty] | SALFORD JCT M33W-4 | Disconnect | 230 kV | OOS
1-00267381 | 2025-06-08 08:45 | 2025-06-20 16:00 | P | C | NOVA SS L27L43 | Breaker | 230 kV | OOS | 10 Hour(s) | IMPL
1-00267624 | 2025-05-23 16:00 | 2025-08-28 08:00 | P | C | LENNOX TS 12-X22 | Disconnect | 230 kV | OOS | Non-recallable | IMPL
[5 empty] | LENNOX TS DL22 | Breaker | 230 kV | OOS
1-00267739 | 2025-06-12 07:00 | 2025-06-15 17:00 | P | C | REXDALE TS SC1 | Capacitor | 50 kV | OOS | 8 Hour(s) | IMPL
[5 empty] | REXDALE TS SC3 | Capacitor | 50 kV | OOS
[5 empty] | REXDALE TS SS2-Y | Disconnect | 50 kV | OOS
1-00267759 | 2025-06-09 11:00 | 2025-10-31 16:00 | P | C | LENNOX TS PBUS-TEMP3 | Disconnect | 500 kV | OOS | Non-recallable | IMPL
[5 empty] | LENNOX TS PL521 | Breaker | 500 kV | OOS
1-00267779 | 2025-06-09 07:00 | 2025-06-17 17:00 | P | C | LENNOX TS 12T52-H | Disconnect | 230 kV | OOS | 4 Hour(s) | IMPL
[5 empty] | LENNOX TS PBUS-TEMP1 | Disconnect | 500 kV | OOS
[5 empty] | LENNOX TS PL521 | Breaker | 500 kV | OOS
[5 empty] | LENNOX TS PL523 | Breaker | 500 kV | OOS
[5 empty] | LENNOX TS PL527 | Breaker | 500 kV | OOS
[5 empty] | LENNOX TS PX3 | Breaker | 500 kV | OOS
[5 empty] | LENNOX TS P_BUS | Bus | 500 kV | OOS
[5 empty] | LENNOX TS R52 | Reactor | 50 kV | OOS
[5 empty] | LENNOX TS R52-T52 | Disconnect | 50 kV | OOS
[5 empty] | LENNOX TS T52 | PowerTransformer | 500 kV | OOS
[5 empty] | LENNOX TS T52-P | Disconnect | 500 kV | OOS
1-00267933 | 2024-10-04 06:24 | 2025-09-30 16:00 | F | C | MALVERN TS SC3 | Capacitor | 50 kV | OOS | Non-recallable | IMPL
1-00267945 | 2025-05-27 07:15 | 2025-07-15 07:00 | P | C | C5R PH JCT 592C5R-MSO1 | Disconnect | 230 kV | OOS | 13 Day(s) | AA
[5 empty] | RICHVIEW TS 88-C5R | Disconnect | 230 kV | OOS
1-00268031 | 2024-10-18 16:00 | 2025-09-26 16:00 | P | C | BRUCE A TS HT3-TEMP1 | Disconnect | 500 kV | OOS | Non-recallable | IMPL
1-00268032 | 2025-02-05 17:00 | 2025-12-31 17:00 | P | C | BRUCE A TS HT4-TEMP1 | Disconnect | 500 kV | OOS | Non-recallable | AA
1-00268643 | 2025-06-01 08:45 | 2025-06-20 17:00 | P | C | ARDOCH JCT AR-1 | Disconnect | 115 kV | OOS | 4 Hour(s) | AA
[5 empty] | B1S.ARXBA | LineSection | 115 kV | OOS
[5 empty] | BARRETT CHUTE SS 14-B1S | Disconnect | 115 kV | OOS
[5 empty] | BARRETT CHUTE SS 14W3B-B1S-TEMP | Disconnect | 115 kV | OOS
1-00271149 | 2024-11-18 08:00 | 2025-12-31 16:00 | F | C | CHERRYWOOD TS D3D4 | Breaker | 230 kV | OOS | Non-recallable | IMPL
1-00271224 | 2024-11-19 09:30 | 2025-06-20 16:00 | F | C | WILTSHIRE TS SC2A13 | Breaker | 50 kV | OOS | Non-recallable | IMPL
1-00271239 | 2025-06-14 08:00 | 2025-06-14 16:00 | P | RE | M1S.MIXVA | LineSection | 115 kV | HOLDOFF | 30 Min(s) | FA
[5 empty] | M1S.MOXVA | LineSection | 115 kV | HOLDOFF
1-00271241 | 2025-06-14 08:00 | 2025-06-14 16:00 | P | RE | A4L.ALXTC | LineSection | 115 kV | HOLDOFF | 30 Min(s) | FA
1-00271325 | 2025-06-14 09:30 | 2025-06-14 13:30 | P | C | ESSA TS DL503 | Breaker | 500 kV | OOS | Immediate | AA
[5 empty] | ESSA TS L03L11 | Breaker | 500 kV | OOS
[5 empty] | HANMER TS JL503 | Breaker | 500 kV | OOS
[5 empty] | HANMER TS PL503 | Breaker | 500 kV | OOS
[5 empty] | NOBEL SS SC503SC | Breaker | 500 kV | OOS
[5 empty] | X503E.ESXHA | LineSection | 500 kV | OOS
1-00271326 | 2025-06-14 13:30 | 2025-06-14 17:00 | P | RE | ESSA TS DL503 | Breaker | 500 kV | OOS | 3 Hour(s) | AA
[5 empty] | ESSA TS L03L11 | Breaker | 500 kV | OOS
[5 empty] | HANMER TS JL503 | Breaker | 500 kV | OOS
[5 empty] | HANMER TS PL503 | Breaker | 500 kV | OOS
[5 empty] | X503E.ESXHA | LineSection | 500 kV | OOS
1-00271380 | 2024-11-20 08:00 | 2025-09-28 09:30 | F | C | ALLISTON TS T2-E8V | Disconnect | 230 kV | IS | Non-recallable | IMPL
[5 empty] | ALLISTON TS T2-E9V | Disconnect | 230 kV | OOS
1-00271381 | 2024-11-20 08:00 | 2025-12-03 16:00 | F | C | SEAFORTH TS SC1 | Capacitor | 50 kV | OOS | Non-recallable | IMPL
1-00271382 | 2024-12-20 08:00 | 2025-12-31 16:00 | P | C | BOWMANVILLE SS H2_BUS | Bus | 500 kV | PROT OOS | Non-recallable | IMPL
1-00271472 | 2025-06-01 06:15 | 2025-07-11 17:00 | P | C | B5.ABXTH | LineSection | 115 kV | OOS | 5 Hour(s) | IMPL
[5 empty] | B5.BIXWA | LineSection | 115 kV | OOS
[5 empty] | B5.JAXAB | LineSection | 115 kV | OOS
[5 empty] | B5.JAXTB | LineSection | 115 kV | OOS
[5 empty] | B5.STXJA | LineSection | 115 kV | OOS
[5 empty] | B5.WAXFO | LineSection | 115 kV | OOS
[5 empty] | B5.WAXST | LineSection | 115 kV | OOS
[5 empty] | BIRCH TS 17-Q5B | Disconnect | 115 kV | OOS
[5 empty] | ERCO JCT Q5B-1 | Disconnect | 115 kV | OOS
[5 empty] | FORT WILLIAM TS T6 | PowerTransformer | 115 kV | OOS
[5 empty] | FORT WILLIAM TS T6-Q5B | Disconnect | 115 kV | OOS
[5 empty] | JAMES STREET JCT 55B5-30 | Disconnect | 115 kV | OOS
[5 empty] | THUNDER BAY SS 30-B5 | Disconnect | 115 kV | OOS
[5 empty] | THUNDER BAY SS 30B5-B14 | Disconnect | 115 kV | OOS
1-00271610 | 2025-06-14 07:00 | 2025-06-14 16:00 | P | RE | B5C.AJXAR | LineSection | 115 kV | HOLDOFF | 30 Min(s) | FA
[5 empty] | B5C.AJXPU | LineSection | 115 kV | HOLDOFF
[5 empty] | B5C.BUXHA | LineSection | 115 kV | HOLDOFF
[5 empty] | B5C.CEXCG | LineSection | 115 kV | HOLDOFF
[5 empty] | B5C.CEXHA | LineSection | 115 kV | HOLDOFF
[5 empty] | B5C.CGXDA | LineSection | 115 kV | HOLDOFF
[5 empty] | B5C.HAXHA | LineSection | 115 kV | HOLDOFF
[5 empty] | B5C.HAXPU | LineSection | 115 kV | HOLDOFF
[5 empty] | B5C.HJXAJ | LineSection | 115 kV | HOLDOFF
[5 empty] | B5C.I2XW2 | LineSection | 115 kV | HOLDOFF
[5 empty] | B5C.IPXWE | LineSection | 115 kV | HOLDOFF
[5 empty] | B5C.PUXHA | LineSection | 115 kV | HOLDOFF
[5 empty] | B5C.PUXPU | LineSection | 115 kV | HOLDOFF
[5 empty] | B5C.WEXHA | LineSection | 115 kV | HOLDOFF
[5 empty] | B5C.WEXWE | LineSection | 115 kV | HOLDOFF
1-00272438 | 2024-12-31 12:00 | 2025-09-30 16:00 | P | C | OAKVILLE TS 2 SC2 | Capacitor | 50 kV | OOS | Non-recallable | IMPL
1-00272677 | 2024-11-27 18:46 | 2025-12-31 16:00 | F | C | LONGWOOD TS R3 | Reactor | 50 kV | OOS | Non-recallable | IMPL
1-00273271 | 2024-12-02 09:11 | 2025-12-31 16:00 | F | C | MOULTON MTS 8CS2-L | Disconnect | 115 kV | OOS | Non-recallable | IMPL
[5 empty] | MOULTON MTS T2 | PowerTransformer | 115 kV | OOS
1-00273479 | 2025-01-13 07:00 | 2025-07-24 23:00 | P | C | BOWMANVILLE SS H4A | Breaker | 500 kV | OOS | Non-recallable | IMPL
[5 empty] | BOWMANVILLE SS H4L543 | Breaker | 500 kV | OOS
[5 empty] | BOWMANVILLE SS H4_BUS | Bus | 500 kV | OOS
1-00273798 | 2024-12-13 19:08 | 2025-07-04 16:00 | F | C | FORT FRANCES TS SC3 | Capacitor | 50 kV | OOS | Non-recallable | IMPL
[5 empty] | FORT FRANCES TS SC3T2 | Breaker | 50 kV | OOS
1-00274314 | 2025-06-14 08:00 | 2025-06-14 16:00 | P | RE | X3H.CAXHI | LineSection | 230 kV | HOLDOFF | Immediate | IMPL
[5 empty] | X3H.KJXCA | LineSection | 230 kV | HOLDOFF
[5 empty] | X3H.KJXKS | LineSection | 230 kV | HOLDOFF
[5 empty] | X3H.LEXKJ | LineSection | 230 kV | HOLDOFF
1-00274588 | 2025-06-09 12:00 | 2025-06-20 08:00 | P | C | PORCUPINE TS 30-P13T | Disconnect | 115 kV | OOS | 10 Hour(s) | IMPL
[5 empty] | PORCUPINE TS 30T7-H1 | Disconnect | 500 kV | OOS
[5 empty] | PORCUPINE TS HT7D1 | Breaker | 230 kV | OOS
[5 empty] | PORCUPINE TS HT7D2 | Breaker | 230 kV | OOS
[5 empty] | PORCUPINE TS HT7_BUS | Bus | 230 kV | OOS
[5 empty] | PORCUPINE TS K1K2 | Breaker | 115 kV | OOS
[5 empty] | PORCUPINE TS K2K3 | Breaker | 115 kV | OOS
[5 empty] | PORCUPINE TS K2_BUS | Bus | 115 kV | OOS
[5 empty] | PORCUPINE TS K3K4 | Breaker | 115 kV | OOS
[5 empty] | PORCUPINE TS T3-K | Disconnect | 115 kV | OOS
[5 empty] | PORCUPINE TS T6 | PowerTransformer | 500 kV | OOS
[5 empty] | PORCUPINE TS T6-H1 | Disconnect | 500 kV | OOS
[5 empty] | PORCUPINE TS T6-K2 | Disconnect | 115 kV | OOS
[5 empty] | PORCUPINE TS T7 | PowerTransformer | 500 kV | OOS
[5 empty] | PORCUPINE TS T7-HT7 | Disconnect | 230 kV | OOS
[5 empty] | TIMMINS TS 19-P13T | Disconnect | 115 kV | OOS
[5 empty] | TIMMINS TS K2-P3 | Disconnect | 115 kV | IS
1-00274716 | 2025-06-01 09:15 | 2025-07-31 17:00 | P | C | GREELY JCT 123M1R-21 | Disconnect | 115 kV | OOS | 4 Hour(s) | IMPL
[5 empty] | M1R.GRXRU | LineSection | 115 kV | OOS
[5 empty] | RUSSELL DS M1R-6 | Disconnect | 115 kV | OOS
[5 empty] | RUSSELL DS M1R-71 | Disconnect | 115 kV | IS
1-00274858 | 2025-06-01 07:00 | 2025-07-05 17:00 | P | C | BROCKVILLE TS L2M-A | Disconnect | 115 kV | IS | 4 Hour(s) | IMPL
[5 empty] | L1MB.LUXLA | LineSection | 115 kV | OOS
[5 empty] | L1MB.LUXMO | LineSection | 115 kV | OOS
[5 empty] | L1MB.MOXMO | LineSection | 115 kV | OOS
[5 empty] | MORRISBURG JCT 68L1MB-4 | Disconnect | 115 kV | OOS
[5 empty] | MORRISBURG TS T3 | PowerTransformer | 115 kV | OOS
[5 empty] | MORRISBURG TS T3-L1MB | Disconnect | 115 kV | OOS
[5 empty] | MORRISBURG TS T3J | Breaker | 50 kV | OOS
[5 empty] | ST. LAWRENCE TS 49-L1MB | Disconnect | 115 kV | OOS
1-00275963 | 2025-05-12 03:30 | 2025-06-27 16:00 | P | C | BRAMALEA TS 74T5-V41H | Disconnect | 230 kV | OOS | 36 Hour(s) | IMPL
[5 empty] | BRAMALEA TS T5 | PowerTransformer | 230 kV | OOS
1-00276079 | 2025-02-05 07:15 | 2025-08-29 15:00 | FE | C | WILTSHIRE TS A14_BUS | Bus | 50 kV | OOS | 4 Hour(s) | IMPL
[5 empty] | WILTSHIRE TS SC2A14 | Breaker | 50 kV | OOS
[5 empty] | WILTSHIRE TS T2A14 | Breaker | 50 kV | OOS
[5 empty] | WILTSHIRE TS T7A14 | Breaker | 50 kV | OOS
1-00276281 | 2025-06-14 09:30 | 2025-06-14 13:30 | P | C | ESSA TS DL503 | Breaker | 500 kV | OOS | Immediate | AA
[5 empty] | ESSA TS L03L11 | Breaker | 500 kV | OOS
[5 empty] | HANMER TS JL503 | Breaker | 500 kV | OOS
[5 empty] | HANMER TS PL503 | Breaker | 500 kV | OOS
[5 empty] | NOBEL SS 239SC503-18 | Disconnect | 500 kV | OOS
[5 empty] | NOBEL SS 239SC503-33 | Disconnect | 500 kV | OOS
[5 empty] | NOBEL SS SC503 | Capacitor | 500 kV | OOS
[5 empty] | NOBEL SS SC503SC | Breaker | 500 kV | OOS
[5 empty] | X503E.ESXHA | LineSection | 500 kV | OOS
1-00276359 | 2025-02-03 02:15 | 2025-06-18 16:00 | P | C | JOHN TS T6 | PowerTransformer | 115 kV | PROT OOS | Non-recallable | AA
[5 empty] | JOHN TS T6-K | Disconnect | 115 kV | OOS
1-00276852 | 2025-06-04 07:30 | 2025-06-20 17:00 | P | C | WONDERLAND TS SC2 | Capacitor | 50 kV | OOS | 8 Hour(s) | IMPL
[5 empty] | WONDERLAND TS SS6 | PowerTransformer | 50 kV | OOS
1-00277039 | 2025-05-11 09:00 | 2025-06-20 07:00 | P | C | MIDDLEPORT TS L5L25 | Breaker | 230 kV | OOS | Immediate | IMPL
[5 empty] | N5M: NANTICOKE TS x MIDDLEPORT TS | Line | 230 kV | PROT OOS
1-00277298 | 2025-02-07 17:00 | 2025-08-07 08:00 | F | C | CRYSTAL FALLS TS 7T5-H23S | Disconnect | 230 kV | OOS | Non-recallable | IMPL
[5 empty] | CRYSTAL FALLS TS T5 | PowerTransformer | 230 kV | OOS
1-00277935 | 2025-06-08 09:00 | 2025-06-20 17:00 | P | C | L24L.LOXLA | LineSection | 230 kV | OOS | 6 Hour(s) | IMPL
[5 empty] | L24L.LOXLD | LineSection | 230 kV | OOS
[5 empty] | L24L.LOXLO | LineSection | 230 kV | OOS
[5 empty] | LAMBTON TS 2 27-L24L | Disconnect | 230 kV | OOS
[5 empty] | LONGWOOD DESN T14-L24L | Disconnect | 230 kV | OOS
[5 empty] | LONGWOOD TS W52-L24L | Disconnect | 230 kV | OOS
1-00278015 | 2025-06-01 07:30 | 2025-06-25 17:00 | P | C | L7S: SEAFORTH TS x ST. MARYS TS | Line | 115 kV | PROT OOS | 2 Hour(s) | IMPL
1-00278442 | 2025-02-23 23:06 | 2025-06-27 16:00 | F | C | BUNCE CREEK TS PST2_1 | Disconnect | 230 kV | OOS | Non-recallable | IMPL
[5 empty] | BUNCE CREEK TS PST2_2 | Disconnect | 230 kV | OOS
[5 empty] | BUNCE CREEK TS PST2_S | Disconnect | 230 kV | IS
1-00278632 | 2025-06-14 08:00 | 2025-06-14 16:00 | P | RE | T33E.ALXCL | LineSection | 230 kV | HOLDOFF | Immediate | IMPL
1-00278633 | 2025-06-14 08:00 | 2025-06-14 16:00 | P | RE | T22C.CHXMJ | LineSection | 230 kV | HOLDOFF | Immediate | IMPL
[5 empty] | T22C.MJXCL | LineSection | 230 kV | HOLDOFF
[5 empty] | T22C.MJXOT | LineSection | 230 kV | HOLDOFF
1-00278892 | 2025-02-28 16:30 | 2025-12-31 23:59 | U | C | BRUCE B SS OLDH5L563 | Breaker | 500 kV | OOS | 2 Hour(s) | AA
[5 empty] | BRUCE B SS OLDH5P | Breaker | 500 kV | OOS
[5 empty] | BRUCE B SS OLDJL501 | Breaker | 500 kV | OOS
[5 empty] | BRUCE B SS OLDL501L563 | Breaker | 500 kV | OOS
1-00278901 | 2025-02-28 19:45 | 2025-06-20 15:00 | F | C | WILTSHIRE TS H2H3 | Breaker | 115 kV | OOS | Non-recallable | IMPL
1-00278919 | 2025-03-02 15:00 | 2025-08-29 16:00 | F | C | LEASIDE TS Q1Q2 | Breaker | 50 kV | OOS | Non-recallable | IMPL
1-00278978 | 2025-03-03 11:00 | 2025-09-01 16:00 | U | C | P91G: PORCUPINE TS x ANSONVILLE TS | Line | 230 kV | PROT OOS | Non-recallable | IMPL
1-00279009 | 2025-03-03 14:05 | 2025-07-31 16:00 | F | C | BRUCE A TS SST15 | PowerTransformer | 50 kV | OOS | Non-recallable | IMPL
1-00279076 | 2025-03-24 08:00 | 2025-06-24 16:00 | P | C | X27A.ALXHA | LineSection | 230 kV | HOLDOFF | 1 Hour(s) | IMPL
1-00279180 | 2025-03-12 08:45 | 2025-08-29 16:00 | O | C | K21W.WHXKE | LineSection | 230 kV | OOS | Non-recallable | IMPL
[5 empty] | KENORA TS 34-K21W | Disconnect | 230 kV | OOS
1-00279327 | 2025-03-07 14:30 | 2025-12-31 23:59 | O | C | VALE FROOD STOBIE 2 CTS FS2D1-M | Disconnect | 230 kV | OOS | 2 Hour(s) | IMPL
[5 empty] | VALE FROOD STOBIE 2 CTS FS2D2-M | Disconnect | 230 kV | IS
[5 empty] | VALE FROOD STOBIE 2 CTS FS2D3-TD | Disconnect | 230 kV | IS
1-00279331 | 2025-06-14 08:00 | 2025-06-14 16:00 | P | RE | M2W.MAXBL | LineSection | 115 kV | HOLDOFF | 30 Min(s) | FA
[5 empty] | M2W.MAXWI | LineSection | 115 kV | HOLDOFF
1-00279495 | 2025-06-09 11:00 | 2025-06-17 17:00 | P | C | NAPANEE GENERATING STATION 8433-X534N | Disconnect | 500 kV | OOS | 2 Hour(s) | IMPL
[5 empty] | NAPANEE GENERATING STATION D1X534N | Breaker | 500 kV | OOS
1-00280013 | 2025-06-14 08:00 | 2025-06-14 16:00 | P | RE | W2C.CHXWA | LineSection | 115 kV | HOLDOFF | 1 Hour(s) | FA
[5 empty] | W2C.CJXHO | LineSection | 115 kV | HOLDOFF
[5 empty] | W2C.HOXWA | LineSection | 115 kV | HOLDOFF
1-00280051 | 2025-05-13 08:30 | 2025-06-14 12:15 | FE | C | MIDDLEPORT TS 25-N6M | Disconnect | 230 kV | OOS | 4 Hour(s) | IMPL
[5 empty] | MIDDLEPORT TS L6L21 | Breaker | 230 kV | OOS
[5 empty] | MIDDLEPORT TS L6L24 | Breaker | 230 kV | OOS
1-00280069 | 2025-06-14 08:00 | 2025-06-14 16:00 | P | RE | A8K.ANXKI | LineSection | 115 kV | HOLDOFF | 1 Hour(s) | FA
1-00280105 | 2025-05-05 07:00 | 2025-07-18 16:00 | P | C | K21W.WHXKE | LineSection | 230 kV | HOLDOFF | 30 Min(s) | FA
[5 empty] | K22W.WHXKE | LineSection | 230 kV | HOLDOFF
1-00280142 | 2025-06-10 16:00 | 2025-06-28 10:00 | P | C | M33W: MIDDLEPORT TS x BUCHANAN TS | Line | 230 kV | PROT OOS | Immediate | IMPL
[5 empty] | MIDDLEPORT TS D1L33 | Breaker | 230 kV | OOS
[5 empty] | MIDDLEPORT TS L33L40 | Breaker | 230 kV | OOS
1-00280148 | 2025-04-07 07:00 | 2025-07-25 16:00 | P | C | SK1.CLXFO | LineSection | 115 kV | HOLDOFF | 30 Min(s) | FA
[5 empty] | SK1.FJXKJ | LineSection | 115 kV | HOLDOFF
[5 empty] | SK1.FOXIP | LineSection | 115 kV | HOLDOFF
[5 empty] | SK1.KJXKE | LineSection | 115 kV | HOLDOFF
[5 empty] | SK1.KJXRA | LineSection | 115 kV | HOLDOFF
1-00280273 | 2025-06-14 08:00 | 2025-06-15 20:00 | P | C | MUSKRAT DAM TS (E) E-T2 | PowerTransformer | 115 kV | OOS | 3 Hour(s) | AA
1-00280333 | 2025-06-08 12:00 | 2025-06-15 13:00 | O | C | BRANTFORD TS T3-M33W | Disconnect | 230 kV | OOS | 4 Hour(s) | IMPL
[5 empty] | BUCHANAN TS 19-M33W | Disconnect | 230 kV | OOS
[5 empty] | M33W.CAXMI | LineSection | 230 kV | OOS
[5 empty] | M33W.NEXBR | LineSection | 230 kV | OOS
[5 empty] | M33W.SAXBU | LineSection | 230 kV | OOS
[5 empty] | M33W.SAXNE | LineSection | 230 kV | OOS
[5 empty] | MIDDLEPORT TS 25-M33W | Disconnect | 230 kV | OOS
[5 empty] | MIDDLEPORT TS D1D2 | Breaker | 230 kV | OOS
[5 empty] | MIDDLEPORT TS D1L27 | Breaker | 230 kV | OOS
[5 empty] | MIDDLEPORT TS D1L29 | Breaker | 230 kV | OOS
[5 empty] | MIDDLEPORT TS D1L33 | Breaker | 230 kV | OOS
[5 empty] | MIDDLEPORT TS D1L34 | Breaker | 230 kV | OOS
[5 empty] | MIDDLEPORT TS D1_BUS | Bus | 230 kV | OOS
[5 empty] | MIDDLEPORT TS K1-TEMP6 | Disconnect | 230 kV | OOS
[5 empty] | MIDDLEPORT TS K1-TEMP7 | Disconnect | 230 kV | OOS
[5 empty] | MIDDLEPORT TS K1L28 | Breaker | 230 kV | OOS
[5 empty] | MIDDLEPORT TS L33L40 | Breaker | 230 kV | OOS
[5 empty] | MIDDLEPORT TS L33_BUS | Bus | 230 kV | OOS
[5 empty] | MIDDLEPORT TS SC22 | Capacitor | 230 kV | OOS
[5 empty] | MIDDLEPORT TS SC22D1 | Breaker | 230 kV | OOS
[5 empty] | MIDDLEPORT TS SC22SC | Breaker | 230 kV | OOS
[5 empty] | MIDDLEPORT TS SS2-D | Disconnect | 230 kV | OOS
[5 empty] | SALFORD JCT M33W-4 | Disconnect | 230 kV | OOS
1-00280476 | 2025-03-21 13:20 | 2025-09-30 16:00 | F | C | BURLINGTON TS SC21 | Capacitor | 230 kV | OOS | Non-recallable | IMPL
[5 empty] | BURLINGTON TS SC21A1 | Breaker | 230 kV | OOS
[5 empty] | BURLINGTON TS SC21SC | Breaker | 230 kV | OOS
1-00280567 | 2025-03-05 08:00 | 2025-09-30 16:00 | F | C | HORNER TS SC3 | Capacitor | 50 kV | OOS | Non-recallable | IMPL
1-00280671 | 2025-05-13 16:00 | 2025-08-19 17:00 | FE | C | LENNOX TS DBUS-TEMP3 | Disconnect | 230 kV | OOS | 8 Hour(s) | IMPL
1-00280816 | 2025-05-25 06:00 | 2025-06-15 12:00 | FE | C | PORT ARTHUR TS 1 T1 | PowerTransformer | 115 kV | OOS | 6 Hour(s) | IMPL
[5 empty] | PORT ARTHUR TS 1 T1-A | Disconnect | 115 kV | OOS
1-00281175 | 2025-05-27 06:15 | 2025-06-14 08:15 | P | C | C552V.CHXCL | LineSection | 500 kV | OOS | 4 Hour(s) | AA
[5 empty] | CHERRYWOOD TS 81-C552V | Disconnect | 500 kV | OOS
[5 empty] | CHERRYWOOD TS HL552 | Breaker | 500 kV | OOS
[5 empty] | CHERRYWOOD TS JL552 | Breaker | 500 kV | OOS
[5 empty] | CLAIREVILLE TS 51-C552V | Disconnect | 500 kV | OOS
1-00281183 | 2025-05-27 08:00 | 2025-06-15 15:00 | FE | C | MARTINDALE TS L2L5 | Breaker | 115 kV | OOS | 4 Hour(s) | IMPL
1-00281214 | 2025-06-14 06:00 | 2025-06-14 16:00 | P | RE | B501M.BBXBJ | LineSection | 500 kV | HOLDOFF | 30 Min(s) | FA
[5 empty] | B501M.BJXWJ | LineSection | 500 kV | HOLDOFF
[5 empty] | B501M.WJXMI | LineSection | 500 kV | HOLDOFF
1-00281459 | 2025-06-02 08:15 | 2025-07-04 16:00 | P | C | CHATS FALLS TS 2-P33C | Disconnect | 230 kV | OOS | 6 Day(s) | IMPL
[5 empty] | CHATS FALLS TS DL33 | Breaker | 230 kV | OOS
[5 empty] | CHATS FALLS TS L22L33 | Breaker | 230 kV | OOS
[5 empty] | CHATS FALLS TS L33_BUS | Bus | 230 kV | OOS
[5 empty] | P33C.CFXPA | LineSection | 230 kV | OOS
1-00281603 | 2025-04-05 16:00 | 2025-07-04 16:01 | F | C | ST. MARYS MTS SMC2 | Breaker | 50 kV | OOS | Non-recallable | IMPL
1-00281684 | 2025-06-02 04:15 | 2025-06-27 16:00 | P | C | DUFFERIN TS T4 | PowerTransformer | 115 kV | OOS | 4 Hour(s) | IMPL
[5 empty] | DUFFERIN TS T4-H2 | Disconnect | 115 kV | OOS
1-00281741 | 2025-05-27 07:15 | 2025-09-15 07:00 | P | C | CLAY CREEK SS 614SSVT1-L49C | Disconnect | 230 kV | OOS | Non-recallable | IMPL
1-00281789 | 2025-05-12 09:45 | 2025-06-19 16:00 | P | C | MIDDLEPORT TS 25-N580M | Disconnect | 500 kV | OOS | 2 Day(s) | IMPL
[5 empty] | N580M.MDXNA | LineSection | 500 kV | OOS
[5 empty] | NANTICOKE TS 59-N580M | Disconnect | 500 kV | OOS
[5 empty] | NANTICOKE TS DL580 | Breaker | 500 kV | OOS
[5 empty] | NANTICOKE TS DL582 | Breaker | 500 kV | OOS
[5 empty] | NANTICOKE TS DT12 | Breaker | 500 kV | OOS
[5 empty] | NANTICOKE TS D_BUS | Bus | 500 kV | OOS
[5 empty] | NANTICOKE TS L580WT11 | Breaker | 500 kV | OOS
[5 empty] | NANTICOKE TS T6L580 | Breaker | 500 kV | OOS
1-00281844 | 2025-05-20 10:15 | 2025-06-20 16:00 | FE | C | BILBERRY CREEK TS T2 | PowerTransformer | 115 kV | OOS | 1 Hour(s) | IMPL
[5 empty] | BILBERRY CREEK TS T2-A | Disconnect | 115 kV | OOS
1-00282052 | 2025-06-14 08:00 | 2025-06-14 16:00 | P | RE | STEEPHL1.1 | LineSection | 115 kV | HOLDOFF | Immediate | FA
[5 empty] | STEEPHL1.2 | LineSection | 115 kV | HOLDOFF
[5 empty] | STEEPHL1.3 | LineSection | 115 kV | HOLDOFF
[5 empty] | STEEPHL1.4 | LineSection | 115 kV | HOLDOFF
1-00282224 | 2025-06-05 04:00 | 2025-06-16 15:00 | P | C | MAIN TS T4 | PowerTransformer | 115 kV | OOS | 4 Hour(s) | IMPL
[5 empty] | MAIN TS T4-K | Disconnect | 115 kV | OOS
[5 empty] | MAIN TS T4K | Breaker | 115 kV | OOS
1-00282240 | 2025-06-12 06:15 | 2025-06-17 18:00 | P | C | THIRD LINE TS 400 | Disconnect | 230 kV | OOS | 8 Hour(s) | IMPL
[5 empty] | THIRD LINE TS K24G-BO | Disconnect | 230 kV | OOS
1-00282241 | 2025-06-12 06:15 | 2025-06-17 17:00 | P | C | THIRD LINE TS 400 | Disconnect | 230 kV | OOS | 5 Hour(s) | IMPL
[5 empty] | THIRD LINE TS K24G-BO | Disconnect | 230 kV | OOS
1-00282332 | 2025-04-19 16:00 | 2025-11-28 18:00 | O | C | CNPI STATION 11 SS 112 | Disconnect | 115 kV | OOS | 2 Hour(s) | FA
[5 empty] | CNPI STATION 11 SS 1136 | Disconnect | 115 kV | IS
[5 empty] | CNPI STATION 11 SS 1137 | Disconnect | 115 kV | OOS
1-00282501 | 2025-04-16 19:50 | 2025-12-31 07:00 | O | C | STAYNER TS T1D | Breaker | 115 kV | OOS | 2 Hour(s) | AA
1-00282698 | 2025-05-12 09:45 | 2025-06-18 16:00 | P | C | NANTICOKE TS L580WT11 | Breaker | 500 kV | BF PROT OOS | 2 Day(s) | IMPL
1-00282699 | 2025-05-12 09:45 | 2025-06-18 16:00 | P | C | NANTICOKE TS T6L580 | Breaker | 500 kV | BF PROT OOS | 2 Day(s) | IMPL
1-00282700 | 2025-05-12 09:45 | 2025-06-18 16:00 | P | C | N580M: NANTICOKE TS x MIDDLEPORT TS | Line | 500 kV | PROT OOS | 2 Day(s) | IMPL
1-00282701 | 2025-05-12 09:45 | 2025-06-18 16:00 | P | C | NANTICOKE TS HT6_BUS | Bus | 500 kV | PROT OOS | 2 Day(s) | IMPL
1-00282702 | 2025-05-12 09:45 | 2025-06-18 16:00 | P | C | NANTICOKE TS DL580 | Breaker | 500 kV | BF PROT OOS | 2 Day(s) | IMPL
1-00282752 | 2025-05-01 12:00 | 2025-10-31 21:00 | I | C | ALLANBURG TS NRSTORCI_DRA_SW | Breaker | 50 kV | INFO | Non-recallable | FA
[5 empty] | ALLANBURG TS RODANCI_DRA_SW | Breaker | 50 kV | INFO
[5 empty] | ALLANBURG TS VOLTUS_DRA_SW | Breaker | 50 kV | INFO
[5 empty] | BRUCE A TS ENERCORP_DRA_SW | Breaker | 50 kV | INFO
[5 empty] | CHATHAM SS EDGECOM_DRA_SW | Breaker | 50 kV | INFO
[5 empty] | CHATHAM SS RODANBTM_DRA_SW | Breaker | 50 kV | INFO
[5 empty] | CHATHAM SS VOLTUS_DRA_SW | Breaker | 50 kV | INFO
[5 empty] | CHERRYWOOD TS ASHGROVE_DRA_SW | Breaker | 50 kV | INFO
[5 empty] | CHERRYWOOD TS EDGECOM_DRA_SW | Breaker | 50 kV | INFO
[5 empty] | CHERRYWOOD TS ENPOWINC_DRA_SW | Breaker | 50 kV | INFO
[5 empty] | CHERRYWOOD TS NORAMPTRENT_DRA_SW | Breaker | 50 kV | INFO
[5 empty] | CHERRYWOOD TS NRSTORCI_DRA_SW | Breaker | 50 kV | INFO
[5 empty] | CHERRYWOOD TS RODANBTM_DRA_SW | Breaker | 50 kV | INFO
[5 empty] | CHERRYWOOD TS RODANCI_DRA_SW | Breaker | 50 kV | INFO
[5 empty] | CHERRYWOOD TS SANOFI_DRA_SW | Breaker | 50 kV | INFO
[5 empty] | CHERRYWOOD TS STEM_DRA_SW | Breaker | 50 kV | INFO
[5 empty] | CHERRYWOOD TS UOFT_DRA_SW | Breaker | 50 kV | INFO
[5 empty] | CHERRYWOOD TS VOLTUS_DRA_SW | Breaker | 50 kV | INFO
[5 empty] | COTE GOLD CTS LOAD-LF_DRA_SW | Breaker | 50 kV | INFO
[5 empty] | DOFASCO BAYFRONT CTS 1X7DRA_SW | Disconnect | 50 kV | INFO
[5 empty] | DOFASCO BAYFRONT CTS 1Y7DRA_SW | Disconnect | 50 kV | INFO
[5 empty] | DOFASCO KENILWORTH CTS 7Y6DRA | Breaker | 50 kV | INFO
[5 empty] | DOFASCO KENILWORTH CTS 8X6DRA | Breaker | 50 kV | INFO
[5 empty] | ESSA TS AESLNR1_DRA_SW | Breaker | 50 kV | INFO
[5 empty] | ESSA TS EDGECOM_DRA_SW | Breaker | 50 kV | INFO
[5 empty] | ESSA TS NRSTORCI_DRA_SW | Breaker | 50 kV | INFO
[5 empty] | ESSA TS VOLTUS_DRA_SW | Breaker | 50 kV | INFO
[5 empty] | FLAKEBOARD TS TT_LF_DRA_SW | Breaker | 50 kV | INFO
[5 empty] | HANMER TS PLACERDOMECA_DRA_SW | Breaker | 50 kV | INFO
[5 empty] | HAWTHORNE TS EDGECOM_DRA_SW | Breaker | 50 kV | INFO
[5 empty] | HAWTHORNE TS RODANCI_DRA_SW | Breaker | 50 kV | INFO
[5 empty] | JBL CTS T1_LF_DRA_SW | Breaker | 50 kV | INFO
[5 empty] | LAFARGE WOODSTOCK CTS TT1_LF_DRA_SW | Breaker | 50 kV | INFO
[5 empty] | LAKEHEAD TS VOLTUS_DRA_SW | Breaker | 50 kV | INFO
[5 empty] | LENNOX GS VOLTUS_DRA_SW | Breaker | 50 kV | INFO
[5 empty] | LENNOX TS EDGECOM_DRA_SW | Breaker | 50 kV | INFO
[5 empty] | LENNOX TS ENPOWINC_DRA_SW | Breaker | 50 kV | INFO
[5 empty] | LENNOX TS NRSTORCI_DRA_SW | Breaker | 50 kV | INFO
[5 empty] | LENNOX TS RODANBTM_DRA_SW | Breaker | 50 kV | INFO
[5 empty] | MCMASTER CTS T1_LF_DRA_SW | Breaker | 50 kV | INFO
[5 empty] | MIDDLEPORT TS AESLNR1_DRA_SW | Breaker | 50 kV | INFO
[5 empty] | MIDDLEPORT TS EDGECOM_DRA_SW | Breaker | 50 kV | INFO
[5 empty] | MIDDLEPORT TS ENPOWINC_DRA_SW | Breaker | 50 kV | INFO
[5 empty] | MIDDLEPORT TS HCE_DRA_SW | Breaker | 50 kV | INFO
[5 empty] | MIDDLEPORT TS HHSC_DRA_SW | Breaker | 50 kV | INFO
[5 empty] | MIDDLEPORT TS NRSTORCI_DRA_SW | Breaker | 50 kV | INFO
[5 empty] | MIDDLEPORT TS OPG_DRA_SW | Breaker | 50 kV | INFO
[5 empty] | MIDDLEPORT TS RODANBTM_DRA_SW | Breaker | 50 kV | INFO
[5 empty] | MIDDLEPORT TS RODANCI_DRA_SW | Breaker | 50 kV | INFO
[5 empty] | MIDDLEPORT TS STELCO_DRA_SW | Breaker | 50 kV | INFO
[5 empty] | MIDDLEPORT TS STEM_DRA_SW | Breaker | 50 kV | INFO
[5 empty] | MIDDLEPORT TS UOG_DRA_SW | Breaker | 50 kV | INFO
[5 empty] | MIDDLEPORT TS VOLTUS_DRA_SW | Breaker | 50 kV | INFO
[5 empty] | PANABRASIVES CTS T1_LF_DRA_SW | Breaker | 50 kV | INFO
[5 empty] | PATRICK ST TS T6_LF_DRA_SW | Breaker | 50 kV | INFO
[5 empty] | PICTON TS ESSROC_DRA_SW | Breaker | 50 kV | INFO
[5 empty] | RAINY RIVER GOLD CTS LF_DRA_SW | Breaker | 50 kV | INFO
[5 empty] | U.S. STEEL NANTICOKE CTS T1_LF_DRA_SW | Breaker | 50 kV | INFO
1-00283088 | 2025-06-14 06:00 | 2025-06-14 17:00 | P | RE | R17T.ERXTO | LineSection | 230 kV | HOLDOFF | 30 Min(s) | IMPL
[5 empty] | R17T.ERXTR | LineSection | 230 kV | HOLDOFF
[5 empty] | R17T.TOXRI | LineSection | 230 kV | HOLDOFF
1-00283095 | 2025-04-28 11:26 | 2025-12-31 16:00 | F | C | CLAIREVILLE TS T15 | PowerTransformer | 500 kV | OOS | Non-recallable | IMPL
[5 empty] | CLAIREVILLE TS T15-HT15 | Disconnect | 230 kV | OOS
[5 empty] | CLAIREVILLE TS T15-W3 | Disconnect | 500 kV | OOS
[5 empty] | CLAIREVILLE TS W3L510 | Breaker | 500 kV | OOS
[5 empty] | CLAIREVILLE TS W3L570 | Breaker | 500 kV | OOS
[5 empty] | CLAIREVILLE TS W3_BUS | Bus | 500 kV | OOS
1-00283208 | 2025-04-30 | 2025-12-31 23:59 | O | C | BASIN RVSC 52 | Disconnect | 50 kV | OOS | Non-recallable | AA
1-00283241 | 2025-04-30 03:00 | 2025-07-04 16:00 | F | C | HEARN SS 22-H13P-L13-G | Disconnect | 115 kV | OOS | Non-recallable | IMPL
[5 empty] | HEARN SS L13_BUS | Bus | 115 kV | OOS
[5 empty] | HEARN SS L6L13 | Breaker | 115 kV | OOS
[5 empty] | HEARN SS L9L13 | Breaker | 115 kV | OOS
1-00283405 | 2025-06-02 16:00 | 2025-07-03 08:00 | P | C | KIPLING JCT 297H22D-MSO | Disconnect | 230 kV | OOS | Immediate | IMPL
1-00283492 | 2025-06-14 08:00 | 2025-06-14 09:00 | P | C | J2N.KEXWE | LineSection | 115 kV | OOS | 1 Hour(s) | AA
[5 empty] | KEITH TS L2P | Breaker | 115 kV | OOS
[5 empty] | KEITH TS L2P-J2N | Disconnect | 115 kV | OOS
1-00283545 | 2025-05-02 16:00 | 2025-07-03 16:01 | F | C | HORNER TS 30T3-R13K | Disconnect | 230 kV | OOS | Non-recallable | IMPL
[5 empty] | MANBY EAST TS 38-R13K | Disconnect | 230 kV | OOS
[5 empty] | R13K.HOXVA | LineSection | 230 kV | OOS
[5 empty] | R13K.MAXRI | LineSection | 230 kV | OOS
[5 empty] | R13K.MAXVA | LineSection | 230 kV | OOS
[5 empty] | RICHVIEW TS 88-R13K | Disconnect | 230 kV | OOS
1-00283815 | 2025-06-04 07:15 | 2025-06-15 17:30 | FE | C | ESPLANADE TS 36-C7E | Disconnect | 115 kV | OOS | 4 Hour(s) | IMPL
[5 empty] | ESPLANADE TS L7L9 | Breaker | 115 kV | OOS
[5 empty] | TERAULEY TS 1C7E-36 | Disconnect | 115 kV | OOS
1-00283829 | 2025-06-12 04:15 | 2025-06-20 16:00 | FE | C | ORANGEVILLE TS DTL7 | Breaker | 230 kV | OOS | 3 Hour(s) | IMPL
1-00283835 | 2025-06-14 06:00 | 2025-06-14 16:00 | P | RE | L26L.LOXLA | LineSection | 230 kV | HOLDOFF | 30 Min(s) | IMPL
[5 empty] | L26L.LOXLO | LineSection | 230 kV | HOLDOFF
1-00283849 | 2025-06-02 09:15 | 2025-07-14 16:00 | P | C | K21W.WHXKE | LineSection | 230 kV | OOS | 8 Hour(s) | IMPL
[5 empty] | KENORA TS 34-K21W | Disconnect | 230 kV | OOS
1-00283915 | 2025-05-11 06:15 | 2025-06-20 07:30 | O | C | MIDDLEPORT TS 25-N5M | Disconnect | 230 kV | OOS | 5 Day(s) | IMPL
[5 empty] | MIDDLEPORT TS L5L25 | Breaker | 230 kV | OOS
[5 empty] | MIDDLEPORT TS L5L32 | Breaker | 230 kV | OOS
[5 empty] | MIDDLEPORT TS N5M-TEMP1 | Disconnect | 230 kV | OOS
1-00283992 | 2025-05-09 16:50 | 2025-12-31 23:59 | O | C | CLERGUE TS 146 | Breaker | 50 kV | IS | 2 Hour(s) | IMPL
[5 empty] | CLERGUE TS 147 | Breaker | 50 kV | IS
[5 empty] | CLERGUE TS 148 | Breaker | 50 kV | IS
[5 empty] | CLERGUE TS 149 | Breaker | 50 kV | IS
1-00283999 | 2025-06-14 06:00 | 2025-06-14 16:00 | P | RE | M32W.IJXKA | LineSection | 230 kV | HOLDOFF | 30 Min(s) | IMPL
[5 empty] | M32W.NEXMI | LineSection | 230 kV | HOLDOFF
[5 empty] | M32W.SAXBU | LineSection | 230 kV | HOLDOFF
[5 empty] | M32W.SAXNE | LineSection | 230 kV | HOLDOFF
1-00284013 | 2025-06-14 08:00 | 2025-06-14 16:00 | P | RE | S2B.ALXBL | LineSection | 115 kV | HOLDOFF | 1 Hour(s) | FA
[5 empty] | S2B.ALXRE | LineSection | 115 kV | HOLDOFF
[5 empty] | S2B.COXMA | LineSection | 115 kV | HOLDOFF
[5 empty] | S2B.CRXCO | LineSection | 115 kV | HOLDOFF
[5 empty] | S2B.CUXSE | LineSection | 115 kV | HOLDOFF
[5 empty] | S2B.EAXEJ | LineSection | 115 kV | HOLDOFF
[5 empty] | S2B.EDXEJ | LineSection | 115 kV | HOLDOFF
[5 empty] | S2B.EJXMJ | LineSection | 115 kV | HOLDOFF
[5 empty] | S2B.ESXBA | LineSection | 115 kV | HOLDOFF
[5 empty] | S2B.ESXEA | LineSection | 115 kV | HOLDOFF
[5 empty] | S2B.MAXBA | LineSection | 115 kV | HOLDOFF
[5 empty] | S2B.MAXCA | LineSection | 115 kV | HOLDOFF
[5 empty] | S2B.MJXMA | LineSection | 115 kV | HOLDOFF
[5 empty] | S2B.MJXMS | LineSection | 115 kV | HOLDOFF
[5 empty] | S2B.VEXCR | LineSection | 115 kV | HOLDOFF
[5 empty] | S2B.VEXET | LineSection | 115 kV | HOLDOFF
1-00284015 | 2025-06-14 09:00 | 2025-06-14 16:00 | P | RE | S22A.CLXCL | LineSection | 230 kV | HOLDOFF | 1 Hour(s) | FA
[5 empty] | S22A.CLXMA | LineSection | 230 kV | HOLDOFF
[5 empty] | S22A.CLXVJ | LineSection | 230 kV | HOLDOFF
[5 empty] | S22A.VJXAL | LineSection | 230 kV | HOLDOFF
1-00284016 | 2025-06-03 07:00 | 2025-06-27 16:00 | P | C | BRIDGMAN JCT 321L14W-32 | Disconnect | 115 kV | OOS | 4 Hour(s) | IMPL
[5 empty] | BRIDGMAN JCT 321L14W-34 | Disconnect | 115 kV | OOS
[5 empty] | BRIDGMAN TS 31T14-L14W | Disconnect | 115 kV | OOS
[5 empty] | BRIDGMAN TS 31T15-L14W | Disconnect | 115 kV | OOS
[5 empty] | BRIDGMAN TS P_BUS | Bus | 115 kV | OOS
[5 empty] | BRIDGMAN TS T14 | PowerTransformer | 115 kV | OOS
[5 empty] | BRIDGMAN TS T15 | PowerTransformer | 115 kV | OOS
1-00284037 | 2025-06-14 09:00 | 2025-06-14 16:00 | P | RE | S22A.CLXCL | LineSection | 230 kV | HOLDOFF | 1 Hour(s) | FA
[5 empty] | S22A.CLXMA | LineSection | 230 kV | HOLDOFF
[5 empty] | S22A.CLXVJ | LineSection | 230 kV | HOLDOFF
[5 empty] | S22A.VJXAL | LineSection | 230 kV | HOLDOFF
1-00284126 | 2025-04-22 08:00 | 2025-06-30 16:00 | F | C | OSHAWA THORNTON TS SC4 | Capacitor | 50 kV | OOS | Non-recallable | IMPL
1-00284257 | 2025-05-12 20:02 | 2025-06-20 16:00 | F | C | TRAFALGAR TS T14 | PowerTransformer | 500 kV | OOS | Non-recallable | IMPL
[5 empty] | TRAFALGAR TS T14-HT14 | Disconnect | 230 kV | OOS
[5 empty] | TRAFALGAR TS T14-M572T | Disconnect | 500 kV | OOS
[5 empty] | TRAFALGAR TS T14-SS14 | Disconnect | 230 kV | OOS
1-00284284 | 2025-05-25 16:00 | 2025-06-15 08:00 | P | C | PORT ARTHUR TS 1 T1 | PowerTransformer | 115 kV | OOS | 4 Hour(s) | IMPL
[5 empty] | PORT ARTHUR TS 1 T1-A | Disconnect | 115 kV | OOS
1-00284454 | 2025-06-14 08:00 | 2025-06-14 16:00 | P | RE | C27P.GAXCF | LineSection | 230 kV | HOLDOFF | Immediate | IMPL
[5 empty] | C27P.GAXDO | LineSection | 230 kV | HOLDOFF
[5 empty] | T22C.CHXMJ | LineSection | 230 kV | HOLDOFF
[5 empty] | T22C.MJXCL | LineSection | 230 kV | HOLDOFF
[5 empty] | T22C.MJXOT | LineSection | 230 kV | HOLDOFF
[5 empty] | T33E.ALXCL | LineSection | 230 kV | HOLDOFF
1-00284466 | 2025-05-14 13:00 | 2025-06-18 16:00 | U | C | NANTICOKE TS T6L580 | Breaker | 500 kV | OOS | 2 Day(s) | SUB
1-00284499 | 2025-05-14 13:02 | 2025-06-14 12:15 | F | C | MINDEN TS HL80 | Breaker | 230 kV | OOS | Non-recallable | IMPL
1-00284514 | 2025-05-30 16:00 | 2025-06-16 16:00 | FE | C | CALEDONIA TS N27T1-S39M | Disconnect | 230 kV | OOS | 6 Hour(s) | IMPL
[5 empty] | CALEDONIA TS T1 | PowerTransformer | 230 kV | OOS
1-00284596 | 2025-06-12 16:00 | 2025-06-16 07:15 | P | C | ADELAIDE JCT 77S2N-62 | Disconnect | 115 kV | IS | 4 Hour(s) | AA
[5 empty] | ADELAIDE JCT 77S2N-79 | Disconnect | 115 kV | OOS
1-00284661 | 2025-06-14 07:00 | 2025-06-14 16:00 | P | RE | H75.LKXSM | LineSection | 230 kV | HOLDOFF | 2 Hour(s) | FA
[5 empty] | H76.LKXSM | LineSection | 230 kV | HOLDOFF
1-00284670 | 2025-06-10 09:15 | 2025-06-20 16:30 | P | C | WILTSHIRE TS 32-K3W | Disconnect | 115 kV | OOS | 2 Hour(s) | IMPL
[5 empty] | WILTSHIRE TS H2H3 | Breaker | 115 kV | OOS
[5 empty] | WILTSHIRE TS H3_BUS | Bus | 115 kV | OOS
[5 empty] | WILTSHIRE TS SC1 | Capacitor | 50 kV | OOS
[5 empty] | WILTSHIRE TS SC2 | Capacitor | 50 kV | OOS
[5 empty] | WILTSHIRE TS SC3 | Capacitor | 50 kV | OOS
[5 empty] | WILTSHIRE TS SS2 | PowerTransformer | 50 kV | OOS
[5 empty] | WILTSHIRE TS T6 | PowerTransformer | 115 kV | OOS
[5 empty] | WILTSHIRE TS T6-H | Disconnect | 115 kV | OOS
[5 empty] | WILTSHIRE TS T7 | PowerTransformer | 115 kV | OOS
[5 empty] | WILTSHIRE TS T7-H3 | Disconnect | 115 kV | OOS
[5 empty] | WILTSHIRE TS T7A11 | Breaker | 50 kV | OOS
[5 empty] | WILTSHIRE TS T7A12 | Breaker | 50 kV | OOS
[5 empty] | WILTSHIRE TS T7A13 | Breaker | 50 kV | OOS
[5 empty] | WILTSHIRE TS T7A14 | Breaker | 50 kV | OOS
1-00284673 | 2025-06-14 12:15 | 2025-06-27 12:00 | O | C | NANTICOKE TS 59-N6M | Disconnect | 230 kV | OOS | 8 Hour(s) | AA
[5 empty] | NANTICOKE TS L6L21 | Breaker | 230 kV | OOS
[5 empty] | NANTICOKE TS P2L6 | Breaker | 230 kV | OOS
1-00284675 | 2025-06-14 12:15 | 2025-06-27 12:00 | O | C | N6M: NANTICOKE TS x MIDDLEPORT TS | Line | 230 kV | PROT OOS | 8 Hour(s) | AA
1-00284786 | 2025-05-19 08:00 | 2025-06-30 16:00 | F | C | GAGE TS 24-K2G | Disconnect | 115 kV | OOS | 4 Hour(s) | IMPL
1-00284823 | 2025-06-14 08:00 | 2025-06-14 16:00 | P | RE | L5H.HOXNO | LineSection | 115 kV | HOLDOFF | 1 Hour(s) | IMPL
[5 empty] | L5H.NRXNO | LineSection | 115 kV | HOLDOFF
1-00284840 | 2025-06-09 06:00 | 2025-07-14 18:30 | P | C | CLERGUE TS 148 | Breaker | 50 kV | OOS | Non-recallable | IMPL
1-00284877 | 2025-06-13 08:00 | 2025-06-16 16:00 | O | C | ELECTRIC ARC FURNACE CTS 320T | PowerTransformer | 115 kV | IS | 5 Min(s) | AA
[5 empty] | ELECTRIC ARC FURNACE CTS 321T | PowerTransformer | 115 kV | IS
[5 empty] | SMR1: 1536 DS at LSP x 1550 DS at EAF | Line | 115 kV | IS
[5 empty] | SMR: LSP-1536 BUS1 x EAF-1550 BUS1 | Line | 115 kV | IS
1-00284947 | 2025-05-22 08:00 | 2025-06-25 16:00 | I | C | K4W.MIXWH | LineSection | 115 kV | INFO | Non-recallable | SUB
[5 empty] | K4W.RAXMI | LineSection | 115 kV | INFO
1-00284985 | 2025-06-03 02:15 | 2025-07-22 16:00 | I | C | JOHN TS T2-K | Disconnect | 115 kV | INFO | 1 Day(s) | IMPL
1-00285274 | 2025-05-25 08:00 | 2025-06-30 16:00 | F | C | BIRCH TS T3 | PowerTransformer | 115 kV | OOS | Non-recallable | IMPL
[5 empty] | BIRCH TS T3-A | Disconnect | 115 kV | OOS
[5 empty] | BIRCH TS T3B | Breaker | 50 kV | OOS
1-00285285 | 2025-06-04 06:00 | 2025-06-20 14:00 | P | C | DECEW FALLS SS L3WT2 | Breaker | 115 kV | OOS | 4 Hour(s) | IMPL
[5 empty] | DECEW FALLS SS L9WT2 | Breaker | 115 kV | OOS
[5 empty] | DECEW FALLS SS WT2_BUS | Bus | 115 kV | OOS
1-00285313 | 2025-05-26 08:00 | 2025-06-20 16:00 | F | C | CHERRYWOOD TS K2_BUS | Bus | 230 kV | PROT OOS | Non-recallable | IMPL
1-00285351 | 2025-06-14 06:00 | 2025-06-14 18:00 | P | RE | R21D.PIXCA | LineSection | 230 kV | HOLDOFF | 15 Min(s) | IMPL
[5 empty] | R21D.PIXPI | LineSection | 230 kV | HOLDOFF
1-00285504 | 2025-06-14 08:00 | 2025-06-14 16:00 | P | RE | D6.CHXDE | LineSection | 115 kV | HOLDOFF | Immediate | IMPL
[5 empty] | D6.CHXPE | LineSection | 115 kV | HOLDOFF
[5 empty] | D6.CRXPE | LineSection | 115 kV | HOLDOFF
[5 empty] | D6.DDXDE | LineSection | 115 kV | HOLDOFF
[5 empty] | D6.DEXDE | LineSection | 115 kV | HOLDOFF
[5 empty] | D6.FOXPE | LineSection | 115 kV | HOLDOFF
1-00285508 | 2025-05-31 | 2025-06-16 10:00 | FE | C | BOWMANVILLE SS R56-X520B | Disconnect | 500 kV | OOS | Immediate | IMPL
[5 empty] | LENNOX TS 12-X520B | Disconnect | 500 kV | OOS
[5 empty] | LENNOX TS KL520 | Breaker | 500 kV | OOS
[5 empty] | LENNOX TS X3L520 | Breaker | 500 kV | OOS
[5 empty] | X520B.BOXLE | LineSection | 500 kV | OOS
1-00285526 | 2025-06-02 09:00 | 2025-06-16 14:00 | P | C | GENERAL MOTORS WINDSOR CTS T1 | PowerTransformer | 115 kV | OOS | Non-recallable | FA
[5 empty] | GENERAL MOTORS WINDSOR CTS T2 | PowerTransformer | 115 kV | OOS
1-00285570 | 2025-06-09 04:00 | 2025-06-16 11:00 | FE | C | NY FDR MOSES CTS 2002 | Breaker | 230 kV | OOS | Non-recallable | IMPL
[5 empty] | NY FDR MOSES CTS 2508 | Breaker | 230 kV | OOS
1-00285641 | 2025-06-12 07:15 | 2025-06-17 16:00 | P | C | B502M: BRUCE A TS x MILTON SS | Line | 500 kV | PROT OOS | 4 Hour(s) | FA
1-00285642 | 2025-06-14 11:30 | 2025-06-17 11:00 | P | C | C20R.AGXCA | LineSection | 230 kV | OOS | 4 Hour(s) | AA
[5 empty] | C20R.AGXCH | LineSection | 230 kV | OOS
[5 empty] | C20R.FAXAG | LineSection | 230 kV | OOS
[5 empty] | C20R.FIXFA | LineSection | 230 kV | OOS
[5 empty] | C20R.FIXFI | LineSection | 230 kV | OOS
[5 empty] | C20R.FIXRI | LineSection | 230 kV | OOS
[5 empty] | CHERRYWOOD TS 81-C20R | Disconnect | 230 kV | OOS
[5 empty] | FAIRCHILD TS T2 | PowerTransformer | 230 kV | OOS
[5 empty] | FAIRCHILD TS T2-C20R | Disconnect | 230 kV | OOS
[5 empty] | FAIRCHILD TS T4 | PowerTransformer | 230 kV | OOS
[5 empty] | FAIRCHILD TS T4-C20R | Disconnect | 230 kV | OOS
[5 empty] | FINCH TS T1 | PowerTransformer | 230 kV | OOS
[5 empty] | FINCH TS T1-C20R | Disconnect | 230 kV | OOS
[5 empty] | RICHVIEW TS 88-C20R | Disconnect | 230 kV | OOS
1-00285674 | 2025-06-09 06:45 | 2025-06-17 16:00 | P | C | X523A: LENNOX TS x HAWTHORNE TS | Line | 500 kV | PROT OOS | 4 Hour(s) | IMPL
1-00285748 | 2025-06-01 06:33 | 2025-07-11 16:00 | F | C | HAWTHORNE TS SC22 | Capacitor | 230 kV | OOS | Non-recallable | IMPL
[5 empty] | HAWTHORNE TS SC22SC | Breaker | 230 kV | OOS
1-00285799 | 2025-06-13 08:00 | 2025-06-16 16:00 | I | C | CLERGUE TS 166 | Breaker | 115 kV | INFO | Non-recallable | AA
[5 empty] | CLERGUE TS 169 | Breaker | 115 kV | INFO
1-00285808 | 2025-06-14 09:00 | 2025-06-14 10:00 | P | C | SCHREIBER WINNIPEG DS 2 34T1-L | Disconnect | 115 kV | OOS | 15 Min(s) | AA
1-00285815 | 2025-06-14 06:00 | 2025-06-14 16:00 | O | NC | B7.BRXBR | LineSection | 115 kV | HOLDOFF | 30 Min(s) | AA
[5 empty] | B7.BRXBU | LineSection | 115 kV | HOLDOFF
[5 empty] | B8.BRXBR | LineSection | 115 kV | HOLDOFF
1-00285867 | 2025-06-10 12:15 | 2025-10-01 15:00 | O | C | WILTSHIRE TS SC3A11 | Breaker | 50 kV | OOS | 4 Hour(s) | IMPL
[5 empty] | WILTSHIRE TS T2A11 | Breaker | 50 kV | OOS
[5 empty] | WILTSHIRE TS T7A11 | Breaker | 50 kV | OOS
1-00285903 | 2025-06-14 08:00 | 2025-06-14 16:00 | P | RE | T1B.ALXST | LineSection | 115 kV | HOLDOFF | 1 Hour(s) | IMPL
[5 empty] | T1B.NOXCO | LineSection | 115 kV | HOLDOFF
[5 empty] | T1B.RAXWH | LineSection | 115 kV | HOLDOFF
[5 empty] | T1B.REXCO | LineSection | 115 kV | HOLDOFF
[5 empty] | T1B.REXSO | LineSection | 115 kV | HOLDOFF
[5 empty] | T1B.SOXSO | LineSection | 115 kV | HOLDOFF
[5 empty] | T1B.SOXWH | LineSection | 115 kV | HOLDOFF
[5 empty] | T1B.STXCO | LineSection | 115 kV | HOLDOFF
1-00286007 | 2025-06-12 16:00 | 2025-06-27 16:00 | O | C | MANBY EAST TS L1L23 | Breaker | 230 kV | OOS | Immediate | IMPL
1-00286094 | 2025-06-12 16:00 | 2025-06-18 07:15 | O | C | MACKAY TS 668 | Breaker | 115 kV | OOS | Non-recallable | FA
[5 empty] | MACKAY TS PL3 | Breaker | 115 kV | OOS
1-00286129 | 2025-06-05 16:30 | 2025-06-19 16:00 | F | C | WILTSHIRE TS 32-K1W | Disconnect | 115 kV | OOS | Non-recallable | IMPL
1-00286152 | 2025-06-06 09:00 | 2025-06-20 16:00 | F | C | GLENGROVE TS P3_BUS | Bus | 115 kV | OOS | Non-recallable | IMPL
1-00286223 | 2025-06-14 08:45 | 2025-06-14 10:00 | P | C | A5A.AGXSC | LineSection | 115 kV | HOLDOFF | Immediate | FA
[5 empty] | A5A.ALXMI | LineSection | 115 kV | HOLDOFF
[5 empty] | A5A.SCXMI | LineSection | 115 kV | HOLDOFF
1-00286237 | 2025-06-08 14:41 | 2025-06-27 16:00 | F | C | LONGWOOD TS SC25 | Capacitor | 230 kV | OOS | Non-recallable | IMPL
[5 empty] | LONGWOOD TS SC25A | Breaker | 230 kV | OOS
1-00286280 | 2025-06-06 13:45 | 2025-06-18 16:00 | F | C | LONGWOOD TS R6 | Reactor | 50 kV | OOS | Non-recallable | IMPL
1-00286283 | 2025-06-14 03:45 | 2025-06-14 16:00 | O | C | CLAIREVILLE TS 51-V71P | Disconnect | 230 kV | OOS | 4 Hour(s) | IMPL
[5 empty] | CLAIREVILLE TS K2L71 | Breaker | 230 kV | OOS
[5 empty] | CLAIREVILLE TS L71L77 | Breaker | 230 kV | OOS
[5 empty] | GRAINGER SOUTH JCT 492V71P-8803 | Disconnect | 230 kV | OOS
1-00286284 | 2025-06-14 04:45 | 2025-06-17 16:00 | P | C | VAUGHAN MTS 2 T1 | PowerTransformer | 230 kV | OOS | 2 Hour(s) | FA
[5 empty] | VAUGHAN MTS 2 T1-V71P | Disconnect | 230 kV | OOS
1-00286334 | 2025-06-10 08:00 | 2025-06-20 16:00 | U | C | NOVA CORUNNA CTS 52T-0101 | Breaker | 50 kV | OOS | 2 Hour(s) | SUB
1-00286408 | 2025-06-13 08:00 | 2025-06-16 08:01 | P | C | FALCONBRIDGE KIDD MINESITE CTS T2 | PowerTransformer | 115 kV | IS | 2 Hour(s) | AA
1-00286412 | 2025-06-09 09:10 | 2025-06-24 16:00 | F | C | LONGWOOD TS R4 | Reactor | 50 kV | OOS | Non-recallable | IMPL
1-00286431 | 2025-06-14 06:15 | 2025-06-16 17:00 | P | C | CAVANAGH TS T1-C20R | Disconnect | 230 kV | OOS | 4 Hour(s) | FA
1-00286504 | 2025-06-13 06:30 | 2025-06-25 14:30 | O | C | COPELAND MTS (NQ8192) T2 | PowerTransformer | 115 kV | OOS | 12 Hour(s) | FA
[5 empty] | COPELAND MTS (NQ8192) T4 | PowerTransformer | 115 kV | OOS
1-00286536 | 2025-06-11 13:09 | 2025-06-16 16:00 | F | C | NORFOLK TS SC1 | Capacitor | 50 kV | OOS | Non-recallable | IMPL
1-00286618 | 2025-06-12 10:37 | 2025-06-20 16:00 | F | C | ARLEN MTS 7356-B5C | Disconnect | 115 kV | OOS | Non-recallable | IMPL
1-00286716 | 2025-06-12 09:41 | 2025-08-08 16:00 | F | C | HINCHEY TS T4Z | Breaker | 50 kV | OOS | 8 Hour(s) | IMPL